## blank correction
Blank correction of d values and propagation of uncertainty
| Total | blank
delta | -22.43 | -27.2
sd | 0.227 | 0.805
abundance | 0.362 | 0.11
sn | 0.02 | 0.0094
blank-corrected values for sample
delta | -20.3479
sd | 0.56784
abundance | 0.252
sn | 0.022099
Individual contributions to sd
sample size | 0.027307 | (term 1)
sample delta value | 0.10633 | (term 2)
blank size | 0.065329 | (term 3)
blank delta value | 0.12347 | (term 4)
areas
sample | 0.252
blank | 0.11
deltas
sample | 0.252 | 0.022099 | -20.3479 | 0.56784
measured | 0.362 | 0.02 | -22.43 | 0.227
blank | 0.11 | 0.0094 | -27.2 | 0.805
uncertainty contributions
sample size | 0.027307
sample delta | 0.10633
blank size | 0.065329
blank delta | 0.12347
Instructions and Notes
1. Enter values and uncertainties (1s) in the purple box. 'Total' refers to the measured values, i.e. including the contributions of both sample and blank.
2. Delta (d) can be for any isotope system (C, H, O, N, etc), but note that the use of d is approximate. For calculations involving large enrichments or depletions, or delta values significantly different from zero, the fractional abundance should be used in place of delta.
3. Abundance can be given in units of moles, mole fraction, grams (of that element), peak area, etc. In general, any unit that is proportional to the abundance of the element in question will work, as long as you are consistent for all values.
4. The blank-corrected delta value, abundance, and associated errors are shown in the blue box.
5. Contributions to the overall uncertainty in d by each of the four measured parameters are shown in gold. Values are calculated via terms 1 through 4, respectively, in equation 19 in Hayes' text.